Project Diary

Automated Heartbeat Classification from ECG Signals  ·  Mohd Saif Khan

Started: 23 September 2026  ·  Last updated: 23 September 2026

# Day 1 — 23 September 2026

Focus: Project setup and first look at the data

## Done

- Finalised the project title and scope: classify ECG heartbeats into 5 AAMI classes (N, S, V, F, Q) using a 1D CNN, with Random Forest / XGBoost as baselines.

- Decided on 1D CNN over 2D CNN on ECG images, because ECG is a time-series signal and image conversion loses timing information such as R-R intervals.

- Wrote the project blueprint and the objectives / methodology / relevance answers for the department form.

- Set up the environment on MacBook Air (M5): Python virtual environment, PyTorch, scikit-learn, XGBoost, wfdb, Streamlit. Confirmed Apple GPU (MPS) is available.

- Downloaded the MIT-BIH dataset (pre-segmented CSV version): 87,554 training beats and 21,892 test beats, 187 samples per beat.

- Wrote and ran 01_explore_data.py. Produced the class distribution chart, single-beat plots, and average-beat-per-class plots. Saved arrays to processed/mitbih.npz.

- Wrote 02_train_cnn.py (not run yet).

- Initialised Git and pushed the project to GitHub.

## Findings

- Severe class imbalance: 72,471 normal beats vs 641 fusion beats, a ratio of about 113 to 1. Plain accuracy will therefore be misleading; macro F1 and per-class recall are the metrics to report.

- Class V is visually distinct and should be the easiest to classify.

- Class S looks almost identical to class N in shape, because the difference is timing rather than morphology. Expect S to be confused with N in the confusion matrix.

## Decisions

- Use the pre-segmented CSVs first to get the full pipeline working, then rebuild the preprocessing and segmentation from the raw MIT-BIH recordings so the project includes the signal-processing work and allows an inter-patient split.

## Next

- Run 02_train_cnn.py for 20 epochs and record accuracy, macro F1 and the confusion matrix.

- Fix the wording issues in the blueprint PDF (remove the leftover placeholder phrase and reword the clinical guidance section).

# Day 2 — [date]

Focus:

## Done

## Findings

## Decisions

## Next

# Day 3 — [date]

Focus:

## Done

## Findings

## Decisions

## Next